Bradworthy School Maintenance Report

Undertaken on 24th January 2008 by:

Caroline Stevens Matt Cann Neil Nixon

We reviewed the condition of the premises inside and outside. Areas that will be affected by the proposed new hall building were not included.

We have broken down areas that require attention by trade. Anything marked '*' is considered urgent.

Decorator

Area around electrical socket in Class 1 (where white board was removed) needs filling and painting.

The reveal around the library window needs cleaning and repainting.

All paintwork to the front of the building and on the dormer windows above the hall requires stripping back and repainting*.

All UPVC window frames need cleaning.

The school entrance looks very shabby. The walls need repainting and the ceiling needs replacing.

The staffroom needs redecorating, with new sink unit and cupboards under.

The girls toilet needs repainting and some of the floor tiles are cracked and need replacing.

Class 3 needs redecorating.

The IT area needs redecorating.

Electrician

The socket in Class 1 (above the radiator) works intermittently*.

The lights at the rear of the building near the wheelie bins don't work.

The socket in the entrance hall (near the shoe racks) works intermittently*.

3 x diffusers required for the hall*.

Carpenter

Class 1 toilet door needs attention.

The door surround to the staff toilet needs repairing and a new lock is required*.

The gate to the basketball playground is broken.

The wooden deck needs a non-slip coating applied*.

The window to the athletics store needs replacing.

A new lock-is required for a cubicle in the-boys toilet*.

Class 2 fire door needs attention.

Class 1 fire door needs attention.

Builder

Rain is coming in through the main entrance ceiling, damaging the internal walls*.

General

A metal casing for the gas box is needed for greater security.

The playground fence is very loose - original contractor to be asked back to effect repair.

An additional padlock is required for the playground store.

The boots and shoes stored in the entrance hall create an untidy first impression. We should consider relocating them.

The floor to the main corridor and entrance hall is in a poor state of repair.